CACHE Modules on Energy in the Curriculum

Module Title: Solar Water Heating

Module Author: Liz Rayfield and Jason Keith

Author Affiliation: Mississippi State University

In the United States, the use of water heaters requires about 20% of the total household energy usage. Of the entire population, 39% of residences used electric water heaters in 2005, which accounted for an average 2,814 kWh per house per year. The 54% of residences using natural gas water heaters had an average usage of 236 therms or 6915 kWh per house per year [1]. If solar power was implemented solely for the use of powering the water heater, the total savings of natural gas and electricity would be equal to the entire electric usage of the state of Oregon or five large power plants [2].

Concepts: Solar collectors needed to heat water for residential applications

Problem Information

Problem Statement: What size solar panel collector will need to be installed on a four person household to support home hot water usage?

Water heater volume:				50 gallons

Volume of hot water used daily [3]:		65-75 gallons

Hot water temperature:			125 °F (51.66 °C)

Average input temperature:			60 °F (15.56 °C)

R-value of the insulation: 			16 ft2hr°F/ Btu

Heat capacity of water (c):			4.184 J/g°C

Density of water:				1000 kg/m3

Collector efficiency [4]:			40%

Gross area of collector [5]:			2.658 m2

Solar insolation:				1000 W/m2

Solution:

Part 1) Calculate the total energy to heat the hot water heater using the equation , where  is the mass of the water,  is the specific heat of water, and  is the change in temperature.

To find the mass of water, multiply the given volume by the density of water after first converting gallons to cubed meters. Then convert kilograms to grams to easily substitute into the energy formula.

75   = 0.2839

0.2839

283.9

Using the equation for total energy, find the total energy to heat the tank.

E=

E=

Convert joules to kilowatt hours using the conversion factor of .

Find the heat loss experienced by the hot water heater using the heat loss formula [6],

, where  is the heat loss in Btu/hour,  is the surface area of the tank in ft2,  is the final temperature of the hot water, and  is the initial temperature of the cold water entering the system.

Using the dimensions of the 50 gallon water tank 24”  47.75” and the area of a cylinder, , multiplied by 144 in2/ ft2 we find the surface area of the water tank.

Plug in the values given and found into the heat loss formula to find the heat loss from the storage tank to the environment.

=

=

Convert Btu per hour to kilowatt hours

0

Add the heat loss and the total energy to heat the tank to get the total energy needed daily.

Part 2) We now focus on sizing the solar panel collector to produce this much energy per day. Use the collector performance thermal performance rating and divide this number by the efficiency to determine the actual amount of solar energy needed to heat the water.

of total solar energy

Taking this energy, and dividing by 6 hr of full sun during a day gives the average incident solar power needed as:

32 kWh / 6 h = 5.34 kW = 5336 W of solar power

Dividing this by the solar insolation of 1000 W/m2 gives the required area as:

5336 W / 1000 W/m2 = 5.34 m2 of surface area

This can roughly be accomplished with two solar collectors.

Works Cited

[1]Cassard, Hannah, P. Denholm, and Sean Ong. Break-even cost for residential solar water heating in the United States [electronic resource] : key drivers and sensitivities / Hannah Cassard, Paul Denholm, and Sean Ong. Golden, CO : National Renewable Energy Laboratory, [2011], 2011. Mississippi State University's Online Catalog. EBSCO. Web. 12 Oct. 2011.

[2] Denholm, P. The technical potential of solar water heating to reduce fossil fuel use and greenhouse gas emissions in the United States [electronic resource] / P. Denholm. Golden, Colo. : National Renewable Energy Laboratory, [2007], 2007. Mississippi State University's Online Catalog. EBSCO. Web. 12 Oct. 2011.

[3] “Investing in a Solar Hot Water System” The Renewable Energy Resource Center Web. 1 November 2011.  <http://www.rerc-vt.org/shw_investing.htm>

[4] “Collector Efficiency” Thermomax Industries Web. 31 October 2011. <http://www.solarthermal.com/applications/efficiency/>

[5] “Solar Collector Certification and Rating” Solar Rating and Certification Cooperation Web. 31 October 2011. <http://securedb.fsec.ucf.edu/srcc/coll_detail?srcc_id=2007033B>

[6] “Hot Water Tank Heat Loss” Leaning Pipes Software. 1 February 2011. Web. 31 October 2011. < http://www.leaningpinesoftware.com/hot_water_heater_tank_insul.shtml>

[7] http://www.e-comfortusa.com/products/viessmann-vitocellv-300-120-gallon-indirectfired-dhw-storage-tank-evi120/1812?utm_source=bingshopping&utm_medium=product_search&utm_campaign=bingshopping&utm_content=1812

Home Problem: What size solar panel collector will need to be installed on a typical boarding school building (250 students) to support the school’s hot water usage?

Data:

Consumption per occupant:				25 gallons per day

Storage per occupant:					5 gallons

Dimensions of water tank [7]:				28 ” radius  61” height